## Slide 1
Modern Mass Spectrometry-Based Platforms
Solving Complex Biological Question
Epigenetics and Cancer - Histone Modifications
Samples – Preparation – Separation – Mass Spec Analysis – Informatics – Reporting
Presentation For Life Sciences Research Only, Not for Diagnostic Purposes
Jeremiah D. Tipton, Ph.D.
Director and Applications Manager
Applied Omics & Life Sciences LLC
Agilent Technologies Applications Contractor
Archive Presentation – November 2011
Basic Histone Epiproteomics Assays

## Slide 2
Epigenetics and Cancer - Histone Modifications
Histone Acetyl Transferase (HAT)
Histone Deacetylase (HDAC)
Histone Methyltransferase
Archive Original - November 29, 2011

## Slide 3
Epigenetics and Cancer - Histone Modifications
(2011)
Type of Modification
Mono-methylation
Di-methylation
Tri-methylation
Acetylation
H3K4
H3K9
H3K14
H3K27
H3K79
H3K20
H2BK5
activation
activation
activation
repression
repression
activation
activation
repression
repression
activation
activation
repression
activation
activation
repression
activation
Archive Original - November 29, 2011
Notes:  The similarity of the word to "genetics" has generated many parallel usages. The "epigenome" is a parallel to the word "genome", and refers to the overall epigenetic state of a cell. The phrase "genetic code" has also been adapted—the "epigenetic code" has been used to describe the set of epigenetic features that create different phenotypes in different cells. Taken to its extreme, the "epigenetic code" could represent the total state of the cell, with the position of each molecule accounted for in an epigenomic map, a diagrammatic representation of the gene expression, DNA methylation and histone modification status of a particular genomic region. More typically, the term is used in reference to systematic efforts to measure specific, relevant forms of epigenetic information such as the histone code or DNA methylation patterns.
 Describe Human Population
 HDAC inhibitor acute myeloid chrmonic lymphocyte leukemia
 Pathway deregulation affect Acetylation and methylation
 only look at histone modifications


## Slide 4
Epigenetics and Cancer - Histone Modifications
Archive Original - November 29, 2011

## Slide 5
Bottom up
Trypsin
Digestion
Other Common Strategies Developed – Glu C /Asp N/Arg C and chemical derivatization.
ARTKQTARKSTGGKAPRKQLATKAARKSAPATGGVKKPHRYRPGTVALREIRRYQKSTELLIRKLPFQRLVREIAQDFKTDLRFQSSAVMALQEASEAYLVGLFEDTNLCAIHAKRVTIMPKDIQLARRIRGERA
4
9
14
18
27
36
56
79
(Ac)
(Ac)
(Ac)
(Me#)
(Me#)
(Me#)
(Me#)
Histone LCMS - QqQ Assay - Basic Assay
Archive Original - November 29, 2011

## Slide 6
K4 Peptide / K9 K14 Peptide / K18 Peptide / K27 K36 Peptide / K 56 Peptide / K79 Peptide
1) Propionic anhydride
(propinyl amides)
2) Trypsin Digestion
Garcia, B.A. et. al. Chemical Derivatization of Histones for Facilitated Analysis by Mass Spectrometry. Nature Protocols, 2007. 2(4): p. 933-938.
ARTKQTARKSTGGKAPRKQLATKAARKSAPATGGVKKPHRYRPGTVALREIRRYQKSTELLIRKLPFQRLVREIAQDFKTDLRFQSSAVMALQEASEAYLVGLFEDTNLCAIHAKRVTIMPKDIQLARRIRGERA
4
9
14
18
27
36
56
79
(Ac)
(Ac)
(Ac)
(Me#)
(Me#)
(Me#)
(Me#)
Histone LCMS - QqQ Assay - Basic Assay
Archive Original - November 29, 2011

## Slide 7
Histone LCMS - QqQ Assay - Basic Assay
Assay Development – “K9-K14” Peptide
Archive Original - November 29, 2011

## Slide 8
Histone LCMS - QqQ Assay - Basic Assay
Assay Development – “K9-K14” Peptide
Add signal response for all K9/K14 peptides
(Response in the peak area)
Divide the individual peak area by the total area
(Result is the Percent Relative Occupancy )
Final Result is a ‘Digital Western Blot ‘
Archive Original - November 29, 2011

## Slide 9
K9 ac
K9 me3
272 y2
641 y6
227 b1
829 y8
226.8
227.0
227.2
227.4
m/z
271.8
272.0
272.2
272.4
m/z
641.2
641.4
641.6
m/z
829.2
829.4
829.6
829.8
m/z
226.8
227.0
227.2
227.4
m/z
271.8
272.0
272.2
272.4
m/z
641.2
641.4
641.6
m/z
829.2
829.4
829.6
829.8
m/z
272 y2
641 y6
227 b1
829 y8
K9 me3
K9 ac
528.3140 (+2)
528.2985 (+2)
Technical Note and Understanding
Histone LCMS - QqQ Assay - Basic Assay
Archive Original - November 29, 2011

## Slide 10
Percent Relative Occupancy (% R.O.)
Sample 1 (1)
HeLa S3
Sample 2
Sample 1 (2)
Methylation (and Acetylation) on Histone 3.(1,2,3)
*
*
*
*
*
Histone LCMS - QqQ Assay - Basic Assay - Results
Digital Western Blot
CLL Samples
Archive Original - November 29, 2011

## Slide 11
Data from Oncology Samples
Reference for “Heat Map”
Patient Sample - HeLa S3
Histone LCMS - QqQ Assay - Basic Assay - Results
Archive Original - November 29, 2011

## Slide 12
Percent Relative Occupancy (% R.O.)
Decrease Inhibitor
K79 peptide
Histone LCMS - QqQ Assay - Basic Assay - Results
Archive Original - November 29, 2011

## Slide 13
Decrease Inhibitor
Percent Relative Occupancy (% R.O.)
K79 peptide
Histone LCMS - QqQ Assay - Basic Assay - Results
Archive Original - November 29, 2011

## Slide 14
Oncology Samples
Percent Relative Occupancy (% R.O.)
~ 5% Difference Between
Biological Reps
~ 10 - 15% Difference Between
Grade II and IV Cells
2-5 % Coefficient
of Variance Between
Technical Triplicates
Histone LCMS - QqQ Assay - Basic Assay - Results
Archive Original - November 29, 2011

## Slide 15
Epigenetics and Cancer - Histone Modifications
Samples – Preparation – Separation – Mass Spec Analysis – Informatics – Reporting
Presentation For Life Sciences Research Only, Not for Diagnostic Purposes
Archive Presentation – November 2011
Basic Histone Epiproteomics Assays
Histone LCMS - QqQ Assay - Basic Assay